## FY 21-22
FY 21-22 Paisley Repair Work
Job Description | Cost
Quote required to to restore property to original state following destructive examination (joiner an | 3433.8971
SR 2316406 Quote Required for Replacing Blinds | 965.5172
SR 2566198 Supply deliver of grit | 300
SR 2566198 Supply deliver of grit | 300
No heating in ground floor ***** | 2878.5527
Please install 3 32amp commando sockets mounted above the ICT Comms Cabinet in the ICT equipment roo | 1542.912
High Temps in the **** temperature sitting at 27 degrees | 1046.1894
SR2707448 Various lights out in the rear car park | 647.2987
Leak H S hazard Urgent | 571.4185
Locksmith to attend Investigate Lock Issue | 497.5025
**** Water Ingress | 128.6772
SR 2779994 Blocked sink in 1st floor kitchen | 69.3927
CW Relates to NS14068633 NS14403474 NS13647598 Lightning Protection System Remedials | 991.5862
Sr2802509 Repair lock handle to the **** | 300.1481
SR2802504 Roof leak in the **** | 380.0211
Lift stuck on ground floor | 63.0518
Sr2822988 Plumbing issue in gents toilet | 130.9677
SR 2830699 Radiator leaking in the **** office on the grd floor | 37.4193
SR 2832069 Fit new digital lock to ***** Office | 888.2751
We have a flooded Gents Toilet Please ask whoever is attending to call | 56.129
SR 2834018 gents toilet not flushing | 18.324
The ***** on the ground floor of the building has 2 x radiators within which are leaking onto the | 56.129
Please have a plumber attend the above site there is a choked sink in the cleaners cupboard at the | 74.8387
SR 2846121 Toilet not flushing in the gents locker room | 37.4193
SR 2845884 Drying Locker Plug Issue | 99.3483
SR 2847797 Repair leak coming urinal in the gents | 69.7527
SR2851971 Faulty toilet flush in the ladies toilet | 82.9957
SR 2853610 Electric Vehicle Charger Issue | 37.4193
SR 2862049 Plumbing Issue | 37.4193
SR 2862893 Temperatures too high on the 1st 2nd Floor | 341.1368
Collapsed roof in the office leaking water | 304.516
Smokeheads required to be checked following heavy leak | 472.2844
SR 2889091 Blocked ladies toilet | 36.648
Ground floor female toilet is blocked and overflowing Only one other female toilet on ground floor | 36.648
SR 2896141 Urinal Leak Into ***** | 73.296
SR2905048 1str floor disabled toilet leaking | 171.392
SR 2907291 Dis Abled Toilet Door Repair | 110.8493
No lights working in the grd flr ******* | 99.896
SR 2911708 Blocked urinal in grd floor | 88.2787
PAT testing | 135.6
SR 2912671 Adhoc Visit to Cut Hedge at Entrance of Building | 300
SR 2928409 Urinal Leaking in the 1st floor gents toilet | 293.9633
SR 2922732 Staff cannot turn radiator off in the ***** | 279.9573
FRA Action Plan P1304F0040 Manual fire extinguishing appliances No extinguisher provided Th | 166.0266
SR 2940816 Sink in kitchen toilets backing up | 149.6773
SR 2922627 Blocked sink in the 1st floor toilet | 104.4787
SR 2913450 Gents Toilet 2nd Floor Leak | 95.9617
SR 2913452 Various Lighting Issues | 851.3727
SR 2928404 Lighting Issues | 1384.4513
FRA Action Plan P1304F0075 Measures to limit fire spread and development Fire doors not f | 689.6552
SR 2935766 Lighting Issues | 829.604
**** Carpet Tiles Replacement | 637.7914
SR 2966365 ***** lock fault | 782.4127
SR 2965295 6ft stip light out | 763.6323
SR 2896123 Floor Tiles in ***** to be Replaced | 15.6858
SR 2913459 Door Jammed Open | 31.3715
SR 2942540 Various Plumbing Issue's | 353.1277
ladies toilets | 93.5483
SR 2953723 Ceiling tiles in grd floor gents toilet hanging down | 31.3715
SR 2965309 Blocked urinals in the gents toilet | 155.5563
SR 2965290 Mixer tap in kitchen constantly dripping | 37.4193
Heating Issue ****** | 118.3187
Quote required to to restore property to original state following destructive examination joiner an | 3433.8971
SR 2980658 Various Plumbing Issues | 363.0093
Blackstart 07 10 | 332.7078
No heating within 1st floor office | 19.7198
Light fitting in boiler house hanging off the ceiling live wires showing | 155.1113
CW 2 New fan belts required | 39.4396
SR3025238 Loose Foor Tile Front Bar | 236.0693
Ladies and Gents showers on the ground floor beside kitchen | 1092.3229
SR 2955994 Inspector Room Flooring Replacement | 724.429
SR 2973157 Operational Room Flooring Issue | 1536.5247
Winter Gritting for the month of December 2020 | 792
cw following ppm NS15310500 for fixed generator see large description | 472.3174
SR3037980 Roof leak in ***** | 305.256
The roof on the ground floor near to the ****** office is coming down | 305.256
SR3037040 Forensic Store Light Issue | 250.221
SR3025442 Window Ledge Issue Inside | 168.387
to supply 2 x fan heater 92761 from Toolstation along with RCD plug | 145.3729
SR3053074 Water Cooler to be installed in the grd flr kitchen | 59.646
SR3018194 Airwave locker 331 not charing | 37.4193
Winter gritting for the month of January 2021 | 1656
SR 2539417 Fixed Wiring Testing Issues | -514.8
CW following PPM Fire Protect Mains Dry Riser And Associated Equipment | 1539.3103
SR 2995485 Heating Issue Sergeants Room | 519.9893
SR2996962 Faulty light fittings in the Muster Room | 471.107
FRA Action Plan P1304F0016 Fire Electrical Faulty or damaged electrical fittings were ident | 215.104
Burst Water pipe in the bay at the back of the car park Staff believe they have turned off the water | 159.8071
Roof Leaking within **** plaster work unable to be completed until roof is repaired | 240.192
SR 3060381 Leaking pipe in the cleaners cupboard | 151.344
SR 3032409 Board up make safe smashed window at front of office | 757.2414
Winter gritting for the month of February 2021 | 720
CCL requested to attend No heating on the ground floor or 1st floor | 626.6759
SR3023224 Fault with heating in the ***** | 242.5379
Infestation of flies in one of the offices | 71.7241
AC installation within Gym Hall and **** | 6836.628
QW - Kitchen Refurbishment/Decoration | 15650.616
FRA Fabric Works | 2270.7
67861.8151
OFFICIAL

## FY 22-23
Works FY 2022-23
description | total cost
Following PPM SPA002:9354 VDO oil pressure switch needed as current one sticking AVMs needed on control box side of main alternator as split new water filter needed as no record of last change | 389.004
Electrical plug point required to be installed in outside garage bay. Required is the fitting of 1 x 16A socket with isolation switch (images attached) and if possible 1 x 2-gang 13A 3-pin electrical socket | 1089.201
Investigate/repair issue with no water getting to the urinals in gents toilet | 153.34
Repair/replace faulty light fittings in the **** | 220.103
Following Traction Lift PPM: Quote required as there is no auto dialler fitted. | 1792.604
Replace faulty light fitting in the lift car | 110.847
Plumber to repair leaking urinals in the grd flr gents toilet | 153.34
Supply & fit door handle to the ***** | 153.34
Fill valve broken in ladies toilet | 196.814
Plumber to repair leak coming from toilet in the 2nd flr gents toilet next to kitchen. Plumber attended this same leak a few weeks ago | 167.41
There is a set of light in the enquiry office 2nd floor not working lamps have been replaced but still not working it is above a desk and is affecting the officers lighting for computer. | 228.17
Repair leaking radiator. Radiator is leaking on to floor. | 153.34
Drain and replace drain valve | 240.664
Weekly Fire Alarm Test was carried out however when the key was inserted into the Fire Alarm the glass would move however the Fire alarm did not activate. | 203.874
Supply & fit keypad lock to the **** | 138.6
Repair/replace faulty light fitting in the ****** has changed the bulbs with no avail | 153.34
************** lights not working. | 133.44
Following on from Roof Inspection PPM Moss growing on roof throughout | 696.96
Male toilets the urinals are leaking | 294.04
Leak at urinal in downs stairs toilet. | 153.34
? Light switch in main hallway needs to be fixed ( was fixed previously but is still not working again) ? Lights in outdoor space need their bulbs changed ? Lights in car park not set on a timer and are on 24/7 | 105.982
attend to investigate TV issue Sergeants Area. - may need connection from rest area below | 153.34
Take down airwave lockers that have been installed and put them on a metal frame, so lockers are raised above ground. The frame will have to be drilled into the floor. | 211.8075
New belts required | 58.97
Sergeants Room Lights not switching on circuit breaker checked not tripped | 153.34
*****- lights have went off in the production store, due to this it is very dark and needs to be replaced. Lighting required. | 375.505
Repair/replace flush handle in the gents toilet | 195.55
Following Fire alarm PPM: Asked by client to Investigate fire alarm panel *****************************had been receiving numerous fault conditions on their panel. Investigations found a couple of loose connections and possible short circuit with the end of line devices at the interface. Rectified conditions, tested linkbetween systems and returned to normal operations. Work complete. | 49.5
Replace window handle **** also reseal windows in same locationWindow Repairs | 116.684
Electrical Distribution boards to be changed in the ***** unit office in Paisley Police Station. New Charging lockers are onsite waiting to be fitted but cant until boards have been replaced | 1191.421
Urinals overflowing | 167.41
Fill hole at with expanding foam to stop rats entering at the roller shutter located at the rear yard. Please liaise on site with Ian for exact location. | 169.796
Repair/replace 3 square LED light fittings in the gents toilet | 413.095
Combi boiler showing fault L2 error code, which is either pressure or blocked pipes put pressure up and no change so must be a blockage Not firing up . no heating for the whole building | 321.985
Hose Reel Works | 839.52
11345.6765
OFFICIAL

## FY 23-24
Works in FY 23/23
Job Description | Cost (£)
Supply and fit of office blinds within numrous rooms of police office, funding secured. Canteen - 9 x blinds. 41inch(W) x 66inch (H). Quiet room 1 x 90.5inch (w)x 66inch (H). Phot copy room 3 blinds. 41inch(W) x 66 inch (H). 44 inch (w) x 66 inch (H). 23 inch (w) x 66 inch (H).Blinds | 1019.2
No power going to the control panel or boiler room. No heating or hot water throughout site. | 661.7125
Call Detail: Ground floor female toilets blocked - on going issue | 279.8838
***** racking filled with ****. The racking is not secure, not screwed into the walls or floor and is wobbly. Whenever we move *****, the shelves shake and could pottentially fall on top of us and crush us to severe injury. | 225.4517
4 light fixtures in office to be replaced with LED. They are currently either not working, or constantly flickering. Location of these lights are: 2 in the kitchen, 1 in the locker room, 1 in the shower area in the toilets. | 698.6294
Routine test and inspection of the fire alarm system. 25% test. Tested First, 2nd and 3rd floors. Previously reported zone chart at fire panel illegible, replacement required, (large building). Carried out repairs under separate job number SPA002:48190. | 255.324
Ladies toilet - Seal is cracked on the pipe that puts water into cistern - This is causing flooding | 165.7764
Ladies toilet is blocked and overflowing. | 165.7764
Repair/make good damaged plaster to wall | 204.975
Following the annual Cable and Track/Rail Based Safety Systems PPM: To attend site and carry out the repairs to PRO-01 and certify - cut, join and retention required. | 434.5
H&S Walkaround - Several electrical issued raised | 291.3712
Blockage in main waste pipe in ladies and gents toilets on ground floor. 1 in the gents and 2 in the ladies are completely. Only ladies toilet on ground floor. Servest engineer notes - "Drainage company required to check drains in both male and female toilets. Drain to mains is in male cubicle the panel is off already. I have tried to unblocked toilets but it's the main drain that is blockage and leading to outside. 1 male and 2 female toilets are out of order. Only female toilets on this floor. Showers in female toilets were blocking aswell but think I have managed to get that sorted using drain cleaner. This must be into a different main drain. Men's urinals are working fine so these can still be used only toilet cubicle out of order." Please investigate drains & repair. | 513.6134
2nd floor corridor lights - Arrange for electrician to attend, investigate and repair/replace lights following reports from on site janitor of 3 x ceiling lights that keep blowing within the 2nd floor corridor. | 589.5758
leak from toilet - female toilets ground | 232.4485
Glass panel adjacent to main door has smashed. Please make safe & quote to repair. | 1073.28
Domestic water legionella risk assessment | 777.92
Male and female toilets on ground floor are overflowing and unable to be used. No other male toilet on that floor. | 181.1385
To attend and investigate, quote if needed and submit costs. Ladies/Gents toilet pans are leaking water on the ground floor K A corridor | 0
Access Control - on the front door, when pressing code to gain entry door wont release. Also, when going out and pressing the door release button, this wont release the door either. | 528.715
Gents toilets ground floor all toilets blocked. | 462.5651
Flat roof has over 5 inches of water on top. Site are they are worried about the weight of this and it caving in over the weekend. Possibly choked gutters. | 778.3564
One of our production stores has a huge padlock on the door that is falling apart **** | 29.8377
***Joiner to fit Sub floor*** Repair/make good damaged flooring in the ground floor kitchen. Damaged part has been taped over to prevent trip hazard. *Subcontractor notes* We attended last week , joiner required to fix subfloor before we can lay new vinyl. | 601.83
West stair - A distribution board is located in the access room to the toilets with no fire protection. This should be enclosed within a compartment of 60 minute fire resistance duration and ceiling tiles reinstated above this area. A distribution board exists in the male shower room off of the locker room. It is not ideal to have this at this location due to moisture. This has possibly been a previous change of use of the room. Locks require fitted to the cupboards housing the distribution boards. First Floor of West protected stair - Electrical cupboard has no lock. This is in an escape stair and should be locked shut at all possible times. Brass light switch in the access room to the water tank room is a loose fixture. | 210.5329
We were moving a cabinet out of the store and I noticed that the top wooden shelf is not secure. The whole 3 meter long shelf is only secured by a post with one screw at the top and not secured at the bottom at all so it wobbles. If that one post moves/breaks, the whole shelf would come down and all the productions on top of it. Please move post to end of the shelf and secure to top and bottom of shelf. I imagine another post at the back would make it more secure, if you can provide one (height approx 2m). | 165.7764
****** there has been an ingress of water from the roof through the ceiling. This has caused a puddle of water which is having to be cleared up by staff, items have been moved and the area is now clear for repair. This issue was repaired around a year ago and has now requires additional work to make safe. | 3940.88
***** - Window handle is hanging off meaning window cannot be secured properly causing a security issue | 165.7764
Repair man hole on site. | 983.15
to attend and investigate, quote if needed and submit costs. Ladies/Gents toilet pans are leaking water on the ground floor corridor | 854.1414
Quote to remove old signage and replace with new Police Scotland logo | 167.005
Ground floor all toilets blocked and flooding Metrorod to attend ASAP | 1198.6389
Repair/replace faulty light fittings back passageway outside the kennels at the basement | 276.2445
Investigate fault with boiler 2. | 927.06
1 x Smoke Detector to be installed in cleaners cupboard. | 165.7764
pot holes to be repaired carpark area adjacent to **** and car wash area . | 3630.66
Following on from PPM SPA002:33478 New zone Chart at fire panel illegible - Replacement required | 896.76
Radiator in the gent's toilet on ground floor is leaking from half valve - tried to tighten valve but now it is leaking more. | 260.1226
2x Taps in both gent's toilet ground floor ka corridor new mixer taps needing for both, spring mechanism away so won't push up to stop water. 10- 2 taps in both gent's toilet ground floor ka corridor new mixer taps needing for both, spring mechanism away so won't push up to stop water. | 566.0562
Heating too hot, please attend and investigate. Unable to reduce heating at radiators. | 235.6138
Some radiators in the building are on 24/7. Some rooms and toliets are 33°C cannot be turned down or off). cannot turn off the heating at the boiler. Please turn off radiators, but keep hot water on or fit thermostats on radiators so that we can turn them down/off. | 200.6951
Repair/replace faulty light fittings at the front bar. Only 3 out of the 8 lights are working bulbs with no avail | 154.7909
Following on from PPM to replace the following extinguishers X8 6ltr, 2nd floor landing , 2nd floor at room 2.12 , 2nd floor lift , 1st floor lift , 1st floor business support , 1st floor landing , ground floor fire exit , ground floor at *** team room. X1 9ltr Foam, **** X1 4kg powder, **** X4 2kg CO2 , 2nd floor corridor, ***** X1 5kg CO2 , **** X15 disposal | 1489.74
Electrician required at area rear stairwell leading to court cells - No lighting and basement store rooms no lighting | 227.4428
Following Routine PPM SPA002:60650 Secureshield replaced a pir | 164.2266
Heavy leak possibly due to heavy rain from the ceiling. Water is pouring in. This is leaking on to the electrics. Leak located at the public bar at the police office. Ceiling tiles are also damaged due to rain. | 395.9502
********** | 558.3409
Broke light fitting notebook room ground floor needs replaced by led fitting light fitting broke front bar office ground floor new light in ballast must be away. 2x 6 ft light fitting main corridor out ceiling too high for me to replace. Numerous lights in Cid office ground floor out. Bulbs been replaced and lights are still faulty. 5ft light fight broke printer room 1st floor. Light been replaced still out. Fitting needs replaced with led fitting. 6.5ft tube lights not working outside kennels basement no lights in the corridor. Needing fittings replaced by led fittings. | 1450.36
******* | 1082.1996
The temporary store key has been bent and it's not opening the door. We have used our copy of the key and it's jamming too. Can a locksmith clean the barrel and see if they can repair it, please? If not, replace the yale lock. We have cut new keys but not helping. Please prioritise as this is the only place that productions can be stored when the office is out of hours. | 100.1
Following P3 SPA002:58756 propose the supply, install and commission of the below detailed additional automatic fire detection on the existing Fire Detection and Alarm System. ? 1nr. Heat Detector to be installed ? 1nr. Optical Smoke Detector to be installed. The additional detection will be cabled in 1.5mm 2c Enhanced fire rated cable and we will break into the existing loop at the nearest existing detector. | 1303.33
Water Risk Assessment | 4342.51
Fluorescent light has heated up and went on fire/began smoking. Fire brigade are on site and electrics have been isolated/made safe. Requires an electrician to check over and fix wiring/lighting. Light located at the pava store room, next to the sergeants room. Site requested attendance after 6am. | 533.2725
Broken break glass point | 187.7764
Shower door in locker room is hanging off the wall and concrete hanging off the wall. Please investigate and make safe. requesting joiner to attend. Contact Ian on arrival. | 304.5053
please turn heating back on for the whole station. we had to put an estates request to turn off the radiators in the summer, but now they need turned back on as we have to monitor the temperature that productions are stored at. also, cold weather is coming and staff round the building have been plugging in portable heaters instead as too cold. | 165.7764
Leak coming through the roof completely uncontainable. Previous job logged on Wednesday night, SPA002:62357 for same issue but it has gotten worse now due to heavy rain. Right at the front of the station so have had to close. | 7036.9
Issue with Gents toilet on second floor. Flusher isn't working. | 262.3746
H&S Walkaround - Several fabric issues raised | 1264.47
From Paisley SIX MONTHLY HEALTH AND SAFETY REVIEW . Electrician to attend and replace x 3 corridor light fittings with new LED Fittings janitor has tried to re-lamp require new fittings.. | 238.6192
Eradicate infestation of black beatles in the grd flr corridor from front bar | 165.7764
Carried out monthly emergency light test throughout site. Following faults were found *********************** *********************** *********************** *********************** *********************** *********************** *********************** *************************************************************************** | 343.629
******* | 253.0732
Remedial(s) required: install a new Phystical Duct Frost stat to *******. This will help protect the AHU Heating Coil from the cold weather. | 754.65
Follow on task following Routine ppm SPA002:68381 Blocked downpipe | 503.6949
****** | 1736.2741
"From HSBC Report Thyssen to attend .Car buffer stool(s) unsecured to pit floor. To be rectified buffers, interior of hoistway or liftway. Counterweight screen is unsecured. To be rectified. Brake pads contaminated with oil. To be rectified.Gear box casing is leaking oil . To be rectified.Oil leak on seal at input shaft. To be rectified.3(l) Car top light inoperative. To be rectified.Lift well lighting partially inoperative. To be rectified. Pit level Mains isolator not lockable - recommend upgrade. Access handle to main electrical cabinet is damaged , this should be repaired .3(m) Emergency brake release lever missing. This should be replaced. Emergency brake operating instructions to be displayed No key to access fireman?s control panel present." | 165.7764
Our plumber was to return following CCL's work on SPA002:46001 - Plumber to attend to complete work | 1355.8044
51558.1343
OFFICIAL